Coil list and testing set-up

VTC: Volume transmit coil (body coil)

HNC24: Head and neck coil

SPC32: Spine coil

BAC12: Body anterior coil

BRC10: Breast coil

SHC12-02: Shoulder coil

KNC12: Knee coil

FCL8: Flex coil large

FCS8: Flex coil small

Special notes:

- When running scan, use standard SE acquisition. United uses TR=600ms, TE=15ms.

- To reconstruct images from individual coil elements, in the protocol set-up under System tab check the box “Uncombine” (this will reconstruct individual coil elements and a composite image)

- Turn off uniformity correction under the Recon tab (Uniform. Corr. = None; B1 is standard)

VTC (Volume transmit coil; body coil)

HNC24: Head & Neck Coil

SPC32: Spine Coil

BAC12: Body anterior coil

BRC10: Breast coil

SHC12: Shoulder coil

KNC12: Knee coil

FCL8: Flex coil large

FCS8: Flex coil small